## Slide 1: IMPLEMENTING ECBC 2017 IN DATA CENTERS
Dale sartor | Lawrence Berkeley national Laboratory
22 October 2020
V1.3 October 21, 2020

## Slide 2: Project Background
The energy intensity of data centers and the growth of data center infrastructure in India calls for increased energy efficiency.
Public-private partnership to increase efficiency in Indian data centers
Goal: Development of energy efficiency standards for Indian data centers

## Slide 3: Project Background - Participating Organizations
  Indian Bureau of Energy Efficiency (BEE)
  Confederation of Indian Industry (CII)
  Indian Green Building Center (IGBC)
  Lawrence Berkeley National Laboratory (LBNL)
And You!
  U.S. Department of Energy and U.S. Department of State

## Slide 4: The Advisory Group for the ECBC Implementation Guide for Data Centres
Mr Raghuveer Singh, chair of the Room Cooling Committee, Director -Thermal Management, Vertiv Energy Private Ltd.
Mr P.C. Lohia, chair of the Chiller Plant Committee, Vice President - HVAC, Reliance Industries Ltd.
Mr Pritam Goyal, chair of the Electrical Committee, General Manager - Data Centres, Vodafone Idea Ltd.
Mr Vivek Rajendran, chair of the IT Hardware and Management Committee, Director, Software Engineering, Dell EMC, Infrastructure Solutions
Mr Ashish Rakheja, Managing Partner, AEON
Mr Syed Mohamed Beary, CMD, Bearys Group & Chairman, IGBC Bangalore Chapter
Mr Angelo Barboza, GM & Head APAC Region, Rittal India
Mr B. Rajput, Senior Technical Director, National Information Center
Mr Biju Jacob John, AVP – Solutions Engineering & Bids Management, Solutions Engineering, Netmagic (An NTT Company)
Mr Chaitanya Tamhankar, Legrand
Mr Mayank Srivastav, Director- Data Center Practice, Schneider Electric/APC
Mr Hiren Shah, Sr Manager, Reliance Industries Ltd
Mr John Booth, Managing Director, Carbon3IT Ltd.
Dr Kanwal Sujit, CEO, Terralive Environ Tech Pvt Ltd
Mr Kiran A J, Regional Manager – Infrastructure, Infosys, Bangalore
Mr Mallikarjun V Patil, CEO, Apt Data Center Consultants India LLP
Mr Manik Kapoor, Head Server & Data Center Infrastructure, Asia Pacific & Japan, AMD
Mr Manoj Kapil, Practice Head, Data Centers and O&M Services, Wipro Ltd.
Mr Mario Dias, Manager-Fac Operations, Workplace Resources, NetApp
Mr Murari Sinhal, Gr. Sr Vice President, Reliance Industries Limited
Mr Mahesh Trivedi, Sr. Executive Vice President, Netmagic - NTT
Mr N K Singh, Senior Director, Business Development - South Asia, Uptime Institute
Mr Pankaj R. Wadhwa, Managing Director, Vastunidhi Architects
Mr Punit Desai, Regional Manager – Infrastructure, Infosys
Mr Pushpendra Pandey, Program Manager - IT Infrastructure & Data Center Operations, IBM Global Technology Services
Mr R. Rajkumar, VP-IT, Infosys Limited
Mr Rajkumar Kambar, DC Manager Asia – Intel
Mr Ranvijay Roy, Consultant, Wipro Limited
Mr Saurabh Diddi, Director, Bureau of Energy Efficiency Govt. of India
Ms Shalini Singh, Senior Sustainability Manager, Office of the CTO, VMware
Ms Shatakshi Suman, Assistant Project Manager (ECBC), Bureau of Energy Efficiency, Govt. of India
Mr Shashi Bhushan Prasad, Vice President - Projects, STT GDC
Mr K M Shankar, Senior Manager - Data Center Operations, STT GDC
Mr Shekhar Dasgupta, Founder, GreenField Software Private Ltd.
Mr Shrirang Deshpande, Country Head-Data Center Business (India), Vertiv Energy Pvt Ltd.
Mr Shubham Agarwal, Manager, Green Initiative, Infosys, Bangalore
Mr Siddharth Jain, Managing Director, EPI-India
Mr Vinit Gupta, Country Head Marketing, Numeric
Mr Vinod Kulkarni, Facility Manager, NetApp India Private Limited
Notes: Thanks to

## Slide 5: Phase I Accomplishments
Phase I Activities Included:
  Review of energy efficiency (EE) policies in India
  Review of global data center standards
  Analysis of international standards relative to the Indian context
  Stakeholder engagement through an online survey and in-person workshop
  Phase I Report

## Slide 6: Phase II Activities
Phase II built on Phase I findings related to international best practices and how EE standards in India could better address data centers.
The Indian standards central to Phase II were:
  the Energy Conservation Building Code (ECBC).
  the Perform, Achieve & Trade (PAT) market-based scheme.
Phase II Activities Included:
  Development of recommendations for incorporating data center specific requirements into the 2016/2017 revision of the ECBC.
  Evaluation of various Energy Performance Metrics for reporting data center energy efficiency under a PAT-type programme.
Phase II report and Phase II white paper

## Slide 7: Phase III (Current Activities)
Data Centre specific User Guide on meeting ECBC standards as well as recommendations and resources to achieve best practices.
Guide includes level 2 (stretch) and level 3 (superefficient) recommendations to augment ECBC Code Compliance requirements:
  Recommended for adoption as ECBC+ and Super-ECBC requirements in the future.
  Can be used as a guide to achieve international best practices.
  Can be used in rating systems such as the IGBC Green Data Centre Rating System.
  Can be adopted as a corporate Standard.
Identified and documented case studies to highlight energy efficiency best practices in the Indian context (supporting Guide recommendations)
Conduct workshops and other outreach activities

## Slide 8: Data Centers and ECBC
Latest ECBC was issued in 2017
Data centers are no longer excluded from the ECBC
But few standards are specifically relevant to data centers, and some are a less-than-perfect fit
The ECBC allows for three levels of performance
  ECBC Code Compliance
  ECBC+
  SuperECBC
Generally, data center-specific standards were not developed for the higher levels by the 2017 ECBC

## Slide 9: User Guide Overview
https://datacenters.lbl.gov/resources/ecbc-2017-data-center-user-guide
Purpose:
  Cross-cutting identification of ECBC17 requirements relevant to data centers
  Recommendations for more relevant requirements and higher levels of performance
  Tips and Best Practices for implementation and operational excellence
  Highlight resources to help users achieve the target efficiency levels
Target Audience: Indian Data Centre Owners, Developers, Designers, and Operators

## Slide 10: Data Center Efficiency - Code Requirements and Recommendations
1. Room Cooling Computer Room Air Conditioning (CRAC) Efficiency Air Management Temperature and Humidity Control Fan Systems Air-Side Economizing | 2. Chiller Plant Chillers Cooling Towers Pump Systems Chiller Plant (Performance Approach) Water-Side Economizing | 3. Electrical Uninterruptible Power Supply (UPS) Diesel Generators Metering and Monitoring | 4. IT Hardware & System Management IT Hardware Systems Management
Notes: Guide addresses operational best practices as well, e.g. IT hardware and software, air management and environmental controls

## Slide 11: Convention for Guide Tables
Level I | Level II | Level III
ECBC Compliant Reference to ECBC 2017 Section Number if applicable. Listed requirements to achieve ECBC Compliant level. Recommended Additional Requirements Additional requirements (if any) to achieve this level, that are not directly addressed by ECBC 2017. | ECBC+ Reference to ECBC 2017 Section Number if applicable. Listed requirements to achieve ECBC+ level, over ECBC requirements. Recommended Additional Requirements Additional requirements (if any) to achieve this level, that are not directly addressed by ECBC 2017. | SuperECBC Reference to ECBC 2017 Section Number if applicable. Listed requirements to achieve SuperECBC level, over ECBC+ requirements. Recommended Additional Requirements Additional requirements (if any) to achieve this level, that are not directly addressed by ECBC 2017.
Requirements are cumulative: Level II and III requirements include all lower level requirements plus whatever higher efficiencies or additional requirements are specified.

## Slide 12: Approximate Performance Levels

## Slide 13: Contact Information
Dale Sartor, P.E.
Lawrence Berkeley National Laboratory
MS 90-3111
University of California
Berkeley, CA 94720
DASartor@LBL.gov
(510) 486-5988
http://datacenters.lbl.gov/